## Up peak
LIFT TRAFFIC ANALYSIS (AS PER NBC 2016) (UP PEAK)
Parameter | Symbol | Value | Description / Formula
Total occupants served |  | 540
Floor Height (m) | h_f | 3.3
Number of floors above main terminal floor | N | 9
Lift Capacity (persons) |  | 15
No. of Lifts | L | 2
Lift Speed (m/s) | v | 1.5
Passenger Utilization (%) |  | 80
Avg passengers per trip | P | 12
Average highest reversal floor | H | 8.7 | Top floor for RTT calculation
Average number of stops | S | 6.8 | Average number of stops during RTT
Transit Time per Floor (s) | t_v | 2.2 | t_v = h_f/v
Door Operation Time (s) | T | 10 | (t_c + t_o + t_f)
Passenger Transfer Time (s) | t_p | 1.2 | Time for one passenger to enter/exit
RTT (s) | RTT | 127.92 | 2*H*t_v + (S+1)*(T-t_v) + 2*P*t_p
Handling Capacity (5 min) |  | 56 | 300*P*L/RTT
Interval (s) |  | 63.96 | RTT/L
Percentage of occupants served during peak demand |  | 10.37%

## Down peak
LIFT TRAFFIC ANALYSIS (AS PER NBC 2016) (DOWN PEAK)
Parameter | Symbol | Value | Description / Formula
Total occupants served |  | 540
Floor Height (m) | h_f | 3.3
Number of floors above main terminal floor | N | 9
Lift Capacity (persons) |  | 15
No. of Lifts | L | 2
Lift Speed (m/s) | v | 1.5
Passenger Utilization (%) |  | 80
Avg passengers per trip | P | 12
Average highest reversal floor | H | 8.7 | Top floor for RTT calculation
Average number of stops | S | 6.8 | Average number of stops during RTT
Transit Time per Floor (s) | t_v | 2.2 | t_v = h_f/v
Door Operation Time (s) | T | 10 | (t_c + t_o + t_f)
Passenger Transfer Time (s) | t_p | 1.2 | Time for one passenger to enter/exit
RTT (s) | RTT | 82.92 | N*t_v + (0.5*S+1)*(T-t_v) + 2*P*t_p
Handling Capacity (5 min) |  | 87 | 300*P*L/RTT
Interval (s) |  | 41.46 | RTT/L
Percentage of occupants served during peak demand |  | 16.11%